GAS DETECTOR CALIBRATION TEST CERTIFICATE

| Description | Manufacturer | Serial Number |
| --- | --- | --- |
| MGC-S+ MGC-SIMPLEPLUS | GCT | {{SERIAL}} Activate before: {{ACTIVATION}} |

| Cartridge Sensors | Range |
| --- | --- |
| H2S | 0 - 100 ppm |
| CO | 0 - 500 ppm |
| O2 | 0 - 30 % |
| LEL | 0 - 100 % |

This product has been assembled, inspected, tested and calibrated with trained
service professionals using NIST traceable calibration gases

Lot Number of Certified Gases used for this calibration test :

{{LOT}}        H2S 25 ppm        CO 100 ppm        O2 18 Vol.%        50% LEL

Gas Production: {{GAS_PROD}}

________________________________________________________________________________

Calibrated on : {{CALIBRATION}}

Calibration is valid through instrument life. Detector life i36   months from Activation.

Remaining time to end of life and calibration expiration is shown on detector display
following double click on the power/menu button.

MGC-S+                                    sn :  {{SERIAL}}

Detector information

Activation

To activate the detector, press and briefly hold down the power / menu button
Once activated, the detector will begin to display Gas Readings immediately and
will run continuously fo 36  months

d    d   .  m    m   .   y    y    y    y

Activation date :

Detector Life Countdown

Once activated , the detector will diplay 36   months of life remaining

Detector will continue to countdown and display months remaining until 30 days remain

Detector will then show days remaining until end of life

d    d   .  m    m   .   y    y    y    y

Activation date + 1095 days = Calibration expiration

Battery

The detector is designed so that the battery will not need charging or replacing
during the life of the detector